## Start here
CORNERSTONE setup collection
1 | Equipment | Check exact models, fitted options, serials, locations and calibration. Add specification URLs.
2 | Specifications | Use one row per parameter. Keep reference ratings separate from local values and DUT limits.
3 | Pictures and models | Enter your actual file paths, vendor CAD links, dimensions and permission details.
4 | Setups | Confirm the actual bench, usable band, DUT holder and overview photo.
5 | Connections | Trace each real connection. Optical cables have separate connector A and connector B.
6 | Fibre details | Use the connection ID to record the fibre part number, range, length and adapters.
7 | Guidelines | Enter approved actions, settings, expected results and post-processing references.
8 | Timing | Record measured durations and what each duration applies to. No times are assumed.
| Editable cells | Blue text on pale blue cells is editable. Blank means unknown, not zero.
| Review states | Choose Needs verification, In progress, Verified or Not applicable.
| Add records | Use blank rows. Beyond the prepared rows, extend the Excel table and copy a validated row.
| Stable IDs | Keep IDs unchanged across sheets. Use a separate ID for each physical unit.
| Existing app records | The current app catalog is included as a starting reference and still needs local verification.
| Wafer records | Your seven instruments are separate proposed records. Chip and wafer units may be different.
| Handover | Return this workbook with the referenced files and Build setup JSON exports. It does not auto-sync.
| 3D format | Detailed GLB 2.0 models, embedded textures, maximum 40 MB. Exact variant and dimensions required.
| Image directory | public/library/images/<equipment-id>-front.jpg
| Model directory | public/library/models/<equipment-id>.glb
| Reference directory | public/library/references/<equipment-id>/
| App metadata | public/library/equipment.json, updated through Admin after review.
| Guidelines | public/documents/ holds approved guides. Enter source and proposed file paths in Guidelines.
| Setup layouts | Proposed public/library/setups/<setup-id>.json. Save exported Build setup layouts for handover.
| Path convention | Disk paths start with public/. App paths omit public/, for example library/models/unit.glb.
| Important checks | N7776C option, exact 8162-C head, legacy mainframes, calibration, wiring and approved DUT limits.

## Equipment
Equipment
Start with the seven wafer records. Confirm every physical unit. Website links and all other fields are editable.
Equipment ID | Configuration | Manufacturer | Model / family | Purpose | Fitted option / exact variant | Serial / asset tag | Lab / bench | Owner | Calibration due | Review state | Specification website URL | Details to confirm
wst-laser-new | New optical | Keysight | N7776C | Tunable laser source |  |  | Wafer-scale tester |  |  | Needs verification | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html | Fitted wavelength and power option
wst-head-interface | New optical | Keysight | N7749C | Optical head interface |  |  | Wafer-scale tester |  |  | Needs verification | https://www.keysight.com/us/en/product/N7749C/optical-head-interface.html | Installed channel count
wst-power-head | New optical | Keysight | 8162-C family | Optical power meter head |  |  | Wafer-scale tester |  |  | Needs verification | https://www.keysight.com/us/en/assets/3121-1226/data-sheets/8162-C-and-N7749C-Optical-Power-Meter-Heads-and-Optical-Head-Interface.pdf | Exact head suffix and head count
wst-laser-old | Old optical | Keysight | 81940A | Tunable laser module |  |  | Wafer-scale tester |  |  | Needs verification | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html | User identified Keysight 81940A for manual wafer-scale optical measurement on 5 October 2026 and confirmed mainframe 8163B (wst-mainframe-manual). Installed options and physical unit details remain to confirm.
wst-sensor-old | Old optical | Keysight | 81634B | Optical power sensor |  |  | Wafer-scale tester |  |  | Needs verification | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | User confirmed 81634B optical power sensor for manual wafer-scale optical measurement on 5 October 2026. Sensor mainframe/slot, serial and fitted options remain to confirm.
wst-picoammeter | Electrical | Keithley | 6487 | Picoammeter / voltage source |  |  | Wafer-scale tester |  |  | Needs verification | https://www.tek.com/en/specialty-instruments/keithley-series-6400-picoammeters-manual/model-6487-picoammeter-voltage-source-reference-manual | Applicable ranges and compliance
wst-power-supply | Electrical | Keysight | E3640A | Power supply |  |  | Wafer-scale tester |  |  | Needs verification | https://www.keysight.com/us/en/product/E3640A/30w-power-supply-8v-3a-20v-1-5a.html | Installed range and DUT limits
laser | Current app catalog |  | Keysight 81940A | Tunable laser source |  |  | Lab 2077 |  |  | Needs verification | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html | Listed in presentation slide 9. Manufacturer specifications checked 30 September 2026. Verify the installed module and calibration before a session.
polarisation | Current app catalog |  | Thorlabs · manual 3-paddle | Polarisation controller |  |  | Lab 2077 |  |  | Needs verification | https://www.thorlabs.com/ | Presentation slide 9. Model and fibre compatibility require local verification.
stage | Current app catalog |  | Thorlabs NanoMax · 3-axis | Chip stage / DUT |  |  | Lab 2077 |  |  | Needs verification | https://www.thorlabs.com/ | Presentation slide 9. This marker represents the DUT mounting assembly.
fibre | Current app catalog |  | Bespoke arms · Thorlabs fibre | Fibre arms & patch cables |  |  | Lab 2077 |  |  | Needs verification | https://www.thorlabs.com/ | Presentation slide 9. The listed SM patch cable range ends at 1625 nm; confirm the complete optical path before using a 1630 nm sweep.
detector | Current app catalog |  | Keysight 81634B | Optical power sensor |  |  | Lab 2077 |  |  | Needs verification | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Presentation slide 9. Manufacturer specifications checked 30 September 2026; they are not measurement uncertainty for the full setup.
camera | Current app catalog |  | USB / display camera | Alignment camera |  |  | Lab 2077 |  |  | Needs verification | https://www.thorlabs.com/ | Presentation slides 9–10. Capture the exact camera and objective details in the next inventory revision.
electrical | Current app catalog |  | DC/AC supply · model unconfirmed | Electrical drive & readout |  |  | Lab 2077 |  |  | Needs verification |  | Presentation slides 10–12. The instrument family is schematic; actual inventory must be confirmed.
wafer | Current app catalog |  | ficonTEC platform | Automated wafer tester |  |  | Lab 2074 |  |  | Needs verification | https://cornerstone.sotonfab.co.uk/wafer-scale-testing-service-wst/ | Presentation slides 25–27, 32, 38 and published WST service. O-band, electrical automation, chip trays and fibre arrays are listed as upgrades in the June presentation.
band-source | Current app catalog |  | Model to be confirmed | Band-specific optical source |  |  | Location to verify |  |  | Needs verification |  | Band-specific setups are shown or described in the presentation; the equipment list does not provide their source models.
band-detector | Current app catalog |  | Model to be confirmed | Band-specific optical detector |  |  | Location to verify |  |  | Needs verification |  | The supplied equipment list identifies the chip C-band sensor only. Detector models for other bands and the wafer tester require verification.
wst-mainframe-manual | Manual wafer optical | Keysight | 8163B | Mainframe for 81940A laser module |  |  | Manual wafer-scale setup |  |  | Needs verification |  | User confirmed mainframe model on 5 October 2026. Serial, fitted modules/options and calibration remain to confirm.
wst-polarisation-manual | Manual wafer optical | Thorlabs | FPC562 | Manual polarisation controller |  |  | Manual wafer-scale setup |  |  | Needs verification | https://www.thorlabs.com/item/FPC562 | User confirmed FPC562 on 5 October 2026: input PM cable → input-laser sleeve → controller → input-arm sleeve → cleaved SM fibre. Three paddles and 56 mm loop previously supplied. Installed fibre/connector condition and unit details remain to verify.
wst-camera-manual | Manual wafer optical |  | USB / display camera; exact model unconfirmed | Alignment camera |  |  | Manual wafer-scale setup |  |  | Needs verification | https://gtvision.co.uk/collections/usb-hdmi-cameras | GT Vision collection link supplied. Manufacturer, exact camera model and optics remain to confirm. Collected 5 October 2026.
wst-fibre-arms-manual | Manual wafer optical | University of Southampton | Bespoke design | Fibre positioning arms |  |  | Manual wafer-scale setup |  |  | Needs verification |  | Bespoke University of Southampton fibre arms. Cleaved fibres couple to grating couplers with adjustable angle. Usual setting: 10° from wafer normal (vertical), user-reported 5 October 2026. Adjustment range, dimensions, drawing and mounts remain to collect.
wst-fibre-sm-manual | Manual wafer optical | Thorlabs | P3-SMF28Y-FC-5 | Single-mode patch cable |  |  | Manual wafer-scale setup |  |  | Needs verification | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | User supplied 1260–1625 nm, FC/APC, 900 µm jacket and 5 m length. Actual cable ends and placement remain to confirm. Collected 5 October 2026.
wst-fibre-pm-manual | Manual wafer optical | Thorlabs | P3-1550PM-FC-5 | Polarisation-maintaining patch cable |  |  | Manual wafer-scale setup |  |  | Needs verification | https://www.thorlabs.com/item/P3-1550PM-FC-5 | Initially listed P3-1550PM-FC-5: PANDA, 1550 nm, FC/APC, 3 mm jacket, 5 m. Later user specified P3-1550PM-FC-2 on both manual input/output paths. The 5 m model is retained in the library; its use in this setup is unconfirmed.
wst-stage-manual | Manual wafer optical | Thorlabs | 3-axis NanoMax flexure stage; exact SKU unconfirmed | Positioning stage |  |  | Manual wafer-scale setup |  |  | Needs verification | https://www.thorlabs.com/3-axis-nanomax-tm-flexure-stages?tabName=Overview | User supplied family. Exact stage and actuator models remain to confirm. Collected 5 October 2026.
wst-chip-holder-manual | Manual wafer optical |  | Bespoke copper block | Chip holder |  |  | Manual wafer-scale setup |  |  | Needs verification |  | User supplied copper block. Dimensions, drawing and mounting remain to collect. Collected 5 October 2026.
wst-wafer-holder-manual | Manual wafer optical |  | Bespoke 3D-printed holder | Wafer holder |  |  | Manual wafer-scale setup |  |  | Needs verification |  | User supplied 3D-printed holder. CAD, material, wafer size and dimensions remain to collect. Collected 5 October 2026.
wst-fibre-pm2-manual | Manual wafer optical | Thorlabs | P3-1550PM-FC-2 | PM patch cable, laser and sensor sides |  |  | Manual wafer-scale setup |  |  | In progress | https://www.thorlabs.com/item/P3-1550PM-FC-2 | User identified this model on both laser and power-meter sides, 5 October 2026. Product reference: 2 m, nominal 1550 nm, FC/APC. Actual installed connectors, instrument adapters and serial/unit details remain to confirm.
wst-mating-sleeve-manual | Manual wafer optical | Thorlabs | ADAFCPMB2 | Mating sleeve, PM-to-SM cable junction |  |  | Manual wafer-scale setup |  |  | In progress | https://www.thorlabs.com/item/ADAFCPMB2 | Three ADAFCPMB2 instances confirmed in reported path: :input-laser before FPC562, :input-arm after FPC562, and :output on detector side. Actual key/adapter details and physical units remain to verify.

## Specifications
Specifications
Manufacturer values were carried from the Word workbook. Record local values and approved DUT limits separately. Units belong in their own column.
Equipment ID | Parameter | Reference numeric value | Unit | Reference conditions / text | Local validated value | Approved DUT limit / conditions | Specification URL | Review state
wst-laser-new | Fitted wavelength minimum |  | nm | Enter installed option, not a guessed band. |  |  | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html | Needs verification
wst-laser-new | Fitted wavelength maximum |  | nm | Possible option ranges: 1240–1380 / 1340–1495 / 1450–1650 / 1490–1640 nm. |  |  | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html | Needs verification
wst-laser-new | Maximum sweep speed | 200 | nm/s | Manufacturer maximum, bidirectional. Confirm usable local speed. |  |  | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html | Needs verification
wst-laser-new | Typical wavelength accuracy | 1.5 | pm | Typical ±1.5 pm including continuous sweep. |  |  | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html | Needs verification
wst-laser-new | Output power |  | dBm | Option dependent. Enter rating for installed option. |  |  | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html | Needs verification
wst-head-interface | Installed channel count |  | heads | Two or four heads depending on configuration. |  |  | https://www.keysight.com/us/en/product/N7749C/optical-head-interface.html | Needs verification
wst-power-head | Head wavelength range |  | nm | Exact 8162-C head suffix is required. |  |  | https://www.keysight.com/us/en/assets/3121-1226/data-sheets/8162-C-and-N7749C-Optical-Power-Meter-Heads-and-Optical-Head-Interface.pdf | Needs verification
wst-laser-old | Minimum wavelength | 1520 | nm | Published range. |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html#resources | Needs verification
wst-laser-old | Maximum wavelength | 1630 | nm | Published range. |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html#resources | Needs verification
wst-laser-old | Maximum output power | 13 | dBm | Published +13 dBm. |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html#resources | Needs verification
wst-laser-old | Wavelength accuracy | 20 | pm | Published ±20 pm. |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html#resources | Needs verification
wst-sensor-old | Power uncertainty | 2.5 | % | Published ±2.5%, reference conditions apply. |  |  | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Needs verification
wst-sensor-old | Sensitivity | -110 | dBm | Published sensitivity. |  |  | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Needs verification
wst-sensor-old | Polarisation dependence | 0.005 | dB | Published <±0.005 dB. |  |  | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Needs verification
wst-picoammeter | Applicable measurement range |  |  | Read applicable manual 6487-901-01 Rev D and local recipe. |  |  | https://www.tek.com/en/specialty-instruments/keithley-series-6400-picoammeters-manual/model-6487-picoammeter-voltage-source-reference-manual | Needs verification
wst-picoammeter | Voltage source and compliance |  |  | Record approved local limits separately. |  |  | https://www.tek.com/en/specialty-instruments/keithley-series-6400-picoammeters-manual/model-6487-picoammeter-voltage-source-reference-manual | Needs verification
wst-power-supply | Rated power | 30 | W | Single output. Alternative ranges below. |  |  | https://www.keysight.com/us/en/product/E3640A/30w-power-supply-8v-3a-20v-1-5a.html | Needs verification
wst-power-supply | Range 1 maximum voltage | 8 | V | Range 1: 0–8 V and up to 3 A. |  |  | https://www.keysight.com/us/en/product/E3640A/30w-power-supply-8v-3a-20v-1-5a.html | Needs verification
wst-power-supply | Range 1 maximum current | 3 | A | Range 1. |  |  | https://www.keysight.com/us/en/product/E3640A/30w-power-supply-8v-3a-20v-1-5a.html | Needs verification
wst-power-supply | Range 2 maximum voltage | 20 | V | Range 2: 0–20 V and up to 1.5 A. |  |  | https://www.keysight.com/us/en/product/E3640A/30w-power-supply-8v-3a-20v-1-5a.html | Needs verification
wst-power-supply | Range 2 maximum current | 1.5 | A | Range 2. Do not combine 20 V and 3 A. |  |  | https://www.keysight.com/us/en/product/E3640A/30w-power-supply-8v-3a-20v-1-5a.html | Needs verification
laser | Wavelength |  |  | 1520–1630 nm |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html | Needs verification
laser | Output power |  |  | Up to +13 dBm |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html | Needs verification
laser | Wavelength accuracy |  |  | ±20 pm |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html | Needs verification
laser | Manufacturer status |  |  | Obsolete |  |  | https://www.keysight.com/us/en/product/81940A/compact-tunable-laser-source-continuous-sweep-mode-1520nm-1630nm.html | Needs verification
polarisation | Type |  |  | Manual, 3-paddle |  |  | https://www.thorlabs.com/ | Needs verification
polarisation | Loop diameter |  |  | Ø56 mm |  |  | https://www.thorlabs.com/ | Needs verification
polarisation | Exact part number |  |  | To be confirmed |  |  | https://www.thorlabs.com/ | Needs verification
polarisation | Setting |  |  | Record for each measurement |  |  | https://www.thorlabs.com/ | Needs verification
stage | Axes |  |  | X / Y / Z |  |  | https://www.thorlabs.com/ | Needs verification
stage | Stage family |  |  | NanoMax flexure |  |  | https://www.thorlabs.com/ | Needs verification
stage | Holder |  |  | Chip holder, model unrecorded |  |  | https://www.thorlabs.com/ | Needs verification
stage | Travel / resolution |  |  | Confirm installed model |  |  | https://www.thorlabs.com/ | Needs verification
fibre | Arms |  |  | University of Southampton design |  |  | https://www.thorlabs.com/ | Needs verification
fibre | SM cable |  |  | P3-SMF28Y-FC-5 · 1260–1625 nm |  |  | https://www.thorlabs.com/ | Needs verification
fibre | PM cable |  |  | P3-1550PM-FC-5 · 1550 nm |  |  | https://www.thorlabs.com/ | Needs verification
fibre | Connector |  |  | FC/APC · 5 m cables |  |  | https://www.thorlabs.com/ | Needs verification
detector | Power uncertainty |  |  | ±2.5% at reference conditions |  |  | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Needs verification
detector | Polarisation dependence |  |  | < ±0.005 dB |  |  | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Needs verification
detector | Sensitivity |  |  | −110 dBm |  |  | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Needs verification
detector | Manufacturer status |  |  | Discontinued / supported |  |  | https://www.keysight.com/us/en/product/81634B/low-polarization-dependence-optical-power-sensor.html | Needs verification
camera | Interface |  |  | USB / display |  |  | https://www.thorlabs.com/ | Needs verification
camera | Model |  |  | Not recorded |  |  | https://www.thorlabs.com/ | Needs verification
camera | Magnification |  |  | To be confirmed |  |  | https://www.thorlabs.com/ | Needs verification
camera | Function |  |  | Visual alignment |  |  | https://www.thorlabs.com/ | Needs verification
electrical | Instruments |  |  | DC/AC supply; oscilloscope in diagram |  |  |  | Needs verification
electrical | Voltage / current limits |  |  | Device-specific; not documented |  |  |  | Needs verification
electrical | Probe configuration |  |  | To be confirmed |  |  |  | Needs verification
electrical | Calibration |  |  | To be confirmed |  |  |  | Needs verification
wafer | Wafer format |  |  | Undiced 8-inch wafer |  |  | https://cornerstone.sotonfab.co.uk/wafer-scale-testing-service-wst/ | Needs verification
wafer | Optical band |  |  | C-band · 1520–1630 nm |  |  | https://cornerstone.sotonfab.co.uk/wafer-scale-testing-service-wst/ | Needs verification
wafer | Coupling |  |  | Grating couplers |  |  | https://cornerstone.sotonfab.co.uk/wafer-scale-testing-service-wst/ | Needs verification
wafer | Alignment |  |  | Automated fibre-to-chip |  |  | https://cornerstone.sotonfab.co.uk/wafer-scale-testing-service-wst/ | Needs verification
band-source | Wavelength coverage |  |  | Confirm against the selected band |  |  |  | Needs verification
band-source | Model / serial |  |  | Not supplied |  |  |  | Needs verification
band-source | Power range |  |  | Not supplied |  |  |  | Needs verification
band-source | Compatible detector |  |  | To be confirmed |  |  |  | Needs verification
band-detector | Wavelength range |  |  | Confirm against source and fibre |  |  |  | Needs verification
band-detector | Model / serial |  |  | Not supplied |  |  |  | Needs verification
band-detector | Sensitivity |  |  | Not supplied |  |  |  | Needs verification
band-detector | Trigger / sampling |  |  | To be confirmed |  |  |  | Needs verification
wst-polarisation-manual | Paddle count | 3 | paddles | User-supplied product description, 5 October 2026. Confirm against installed equipment and applicable data sheet. |  |  | https://www.thorlabs.com/item/FPC562 | Needs verification
wst-polarisation-manual | Fibre loop diameter | 56 | mm | User-supplied product description, 5 October 2026. Confirm against installed equipment and applicable data sheet. |  |  | https://www.thorlabs.com/item/FPC562 | Needs verification
wst-fibre-sm-manual | Minimum specified wavelength | 1260 | nm | User-supplied product description, 5 October 2026. Confirm against installed equipment and applicable data sheet. |  |  | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | Needs verification
wst-fibre-sm-manual | Maximum specified wavelength | 1625 | nm | User-supplied range ends at 1625 nm. Compatibility above this wavelength remains to confirm. |  |  | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | Needs verification
wst-fibre-sm-manual | Jacket diameter | 900 | µm | User-supplied product description, 5 October 2026. Confirm against installed equipment and applicable data sheet. |  |  | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | Needs verification
wst-fibre-sm-manual | Cable length | 5 | m | User-supplied product description, 5 October 2026. Confirm against installed equipment and applicable data sheet. |  |  | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | Needs verification
wst-fibre-sm-manual | Product connector description |  |  | User listing states FC/APC. Confirm each actual cable end and mating adapter separately. |  |  | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | Needs verification
wst-fibre-pm-manual | Nominal wavelength | 1550 | nm | User supplied nominal 1550 nm. Full usable wavelength range not yet supplied. |  |  | https://www.thorlabs.com/item/P3-1550PM-FC-5 | Needs verification
wst-fibre-pm-manual | Jacket diameter | 3 | mm | User-supplied product description, 5 October 2026. Confirm against installed equipment and applicable data sheet. |  |  | https://www.thorlabs.com/item/P3-1550PM-FC-5 | Needs verification
wst-fibre-pm-manual | Cable length | 5 | m | User-supplied product description, 5 October 2026. Confirm against installed equipment and applicable data sheet. |  |  | https://www.thorlabs.com/item/P3-1550PM-FC-5 | Needs verification
wst-fibre-pm-manual | Product connector / fibre description |  |  | User listing states FC/APC and PANDA PM fibre. Actual cable ends, key alignment and usable range remain to confirm. |  |  | https://www.thorlabs.com/item/P3-1550PM-FC-5 | Needs verification
wst-stage-manual | Stage axes | 3 | axes | User supplied NanoMax family. Exact model and travel/actuator specifications remain to confirm. |  |  | https://www.thorlabs.com/3-axis-nanomax-tm-flexure-stages?tabName=Overview | Needs verification
wst-fibre-pm2-manual | Nominal cable length | 2 | m | Thorlabs archived catalog reference for this part number. Actual installed cable length remains to verify. |  |  | https://www.thorlabs.com/catalogpages/Obsolete/2019/P3-375PM-FC-2.pdf | Needs verification
wst-fibre-pm2-manual | Nominal wavelength | 1550 | nm | Thorlabs archived catalog reference for this part number. Full current usable wavelength range remains to confirm. |  |  | https://www.thorlabs.com/catalogpages/Obsolete/2019/P3-375PM-FC-2.pdf | Needs verification
wst-fibre-pm2-manual | Product connectors |  |  | FC/APC connectors at both ends in archived manufacturer reference. Confirm actual cable and instrument adapters. |  |  | https://www.thorlabs.com/catalogpages/Obsolete/2019/P3-375PM-FC-2.pdf | Needs verification
wst-fibre-arms-manual | Usual fibre angle to wafer normal |  | deg | User-reported normal operating setting, 5 October 2026. Angle is measured from wafer normal (vertical), not wafer surface. Adjustment range and calibration remain to collect. | 10 |  |  | In progress
wst-laser-old | Usual laser output power |  | mW | User-reported setting for manual wafer-scale optical measurement, 5 October 2026. Laser output setpoint; power at the DUT remains to measure. | 10 |  |  | In progress

## Pictures and models
Pictures and models
Proposed paths are targets, not existing files. Supply detailed front/rear/side photos, measured dimensions and source CAD.
Equipment ID | Actual photo file / drive path | Proposed image app path | Actual GLB / CAD file / drive path | Proposed GLB app path | Vendor CAD / drawing URL | Width (mm) | Depth (mm) | Height (mm) | Other views / port photos | Permission / licence | Reviewer / date | Review state
wst-laser-new |  | library/images/wst-laser-new-front.jpg |  | library/models/wst-laser-new.glb | [7 empty] | Needs verification
wst-head-interface |  | library/images/wst-head-interface-front.jpg |  | library/models/wst-head-interface.glb | [7 empty] | Needs verification
wst-power-head |  | library/images/wst-power-head-front.jpg |  | library/models/wst-power-head.glb | [7 empty] | Needs verification
wst-laser-old |  | library/images/wst-laser-old-front.jpg |  | library/models/wst-laser-old.glb | [7 empty] | Needs verification
wst-sensor-old |  | library/images/wst-sensor-old-front.jpg |  | library/models/wst-sensor-old.glb | [7 empty] | Needs verification
wst-picoammeter |  | library/images/wst-picoammeter-front.jpg |  | library/models/wst-picoammeter.glb | [7 empty] | Needs verification
wst-power-supply |  | library/images/wst-power-supply-front.jpg |  | library/models/wst-power-supply.glb | [7 empty] | Needs verification
laser |  | library/images/laser-front.jpg |  | library/models/laser.glb | [7 empty] | Needs verification
polarisation |  | library/images/polarisation-front.jpg |  | library/models/polarisation.glb | [7 empty] | Needs verification
stage |  | library/images/stage-front.jpg |  | library/models/stage.glb | [7 empty] | Needs verification
fibre |  | library/images/fibre-front.jpg |  | library/models/fibre.glb | [7 empty] | Needs verification
detector |  | library/images/detector-front.jpg |  | library/models/detector.glb | [7 empty] | Needs verification
camera |  | library/images/camera-front.jpg |  | library/models/camera.glb | [7 empty] | Needs verification
electrical |  | library/images/electrical-front.jpg |  | library/models/electrical.glb | [7 empty] | Needs verification
wafer |  | library/images/wafer-front.jpg |  | library/models/wafer.glb | [7 empty] | Needs verification
band-source |  | library/images/band-source-front.jpg |  | library/models/band-source.glb | [7 empty] | Needs verification
band-detector |  | library/images/band-detector-front.jpg |  | library/models/band-detector.glb | [7 empty] | Needs verification
wst-mainframe-manual |  | library/images/wst-mainframe-manual-front.jpg |  | library/models/wst-mainframe-manual.glb | [7 empty] | Needs verification
wst-polarisation-manual |  | library/images/wst-polarisation-manual-front.jpg |  | library/models/wst-polarisation-manual.glb | https://www.thorlabs.com/item/FPC562 |  |  |  | Vendor support-document page recorded for later retrieval. Prefer STEP where available. Actual CAD format/download for this exact model has not been verified. |  |  | Needs verification
wst-camera-manual |  | library/images/wst-camera-manual-front.jpg |  | library/models/wst-camera-manual.glb | [7 empty] | Needs verification
wst-fibre-arms-manual |  | library/images/wst-fibre-arms-manual-front.jpg |  | library/models/wst-fibre-arms-manual.glb |  |  |  |  | Custom arms need CAD/drawings or measured photos of angle adjustment. Grating-coupler coupling, usual fibre angle 10° from wafer normal. Adjustment range and mechanism dimensions remain to collect. |  |  | Needs verification
wst-fibre-sm-manual |  | library/images/wst-fibre-sm-manual-front.jpg |  | library/models/wst-fibre-sm-manual.glb | [7 empty] | Needs verification
wst-fibre-pm-manual |  | library/images/wst-fibre-pm-manual-front.jpg |  | library/models/wst-fibre-pm-manual.glb | [7 empty] | Needs verification
wst-stage-manual |  | library/images/wst-stage-manual-front.jpg |  | library/models/wst-stage-manual.glb | [7 empty] | Needs verification
wst-chip-holder-manual |  | library/images/wst-chip-holder-manual-front.jpg |  | library/models/wst-chip-holder-manual.glb | [7 empty] | Needs verification
wst-wafer-holder-manual |  | library/images/wst-wafer-holder-manual-front.jpg |  | library/models/wst-wafer-holder-manual.glb | [7 empty] | Needs verification
wst-fibre-pm2-manual |  | library/images/wst-fibre-pm2-manual-front.jpg |  | library/models/wst-fibre-pm2-manual.glb | [7 empty] | Needs verification
wst-mating-sleeve-manual |  | library/images/wst-mating-sleeve-manual-front.jpg |  | library/models/wst-mating-sleeve-manual.glb | [7 empty] | Needs verification

## Setups
Setups
Confirm real equipment, platform, usable range and overview photo. Existing app service listings do not confirm operating readiness.
Setup ID | Setup name | Scale | Mode | Installed / usable band | Equipment IDs / instances | Exact platform / lab / DUT holder | Actual overview image path | Guide / layout JSON path | Review state
wst-optical-new | Wafer-scale optical testing: new | Wafer | Optical |  | wst-laser-new; wst-head-interface; wst-power-head |  |  |  | Needs verification
wst-optical-old | Wafer-scale optical testing: old | Wafer | Optical |  | wst-laser-old; wst-sensor-old |  |  |  | Needs verification
wst-electrical | Wafer-scale electrical testing | Wafer | Electrical | Not applicable | wst-picoammeter; wst-power-supply |  |  |  | Needs verification
chip-optical-c | Optical chip testing | Chip | Optical | C-band | laser; polarisation; stage; fibre; detector; camera | Lab 2077 |  |  | Needs verification
chip-optical-o | Optical chip testing · O-band | Chip | Optical | O-band | band-source; polarisation; stage; fibre; band-detector; camera | Lab 2077 · equipment to verify |  |  | Needs verification
chip-heater | Thermal phase-shifter | Chip | Electrical | C-band, O-band | laser; polarisation; stage; fibre; detector; camera; electrical | Lab 2077 |  |  | Needs verification
chip-resistance | Heater resistance | Chip | Electrical |  | electrical; stage; camera | Lab 2077 |  |  | Needs verification
chip-pn | PN-junction modulator | Chip | Electrical | C-band, O-band | band-source; polarisation; stage; fibre; band-detector; camera; electrical | Lab 2077 · configuration to verify |  |  | Needs verification
chip-array | Fibre array chip testing | Chip | Optical | C-band | laser; polarisation; stage; fibre; detector; camera | Lab 2077 |  |  | Needs verification
chip-visible | Visible chip testing | Chip | Optical | Visible | band-source; polarisation; stage; fibre; band-detector; camera | Location to verify |  |  | Needs verification
chip-mir | Mid-IR chip testing | Chip | Optical | MIR | band-source; stage; fibre; band-detector; camera | Mid-IR lab · room to verify |  |  | Needs verification
chip-edge | Edge coupling | Chip | Optical | C-band, O-band | band-source; stage; fibre; band-detector; camera | To be assigned |  |  | Needs verification
wafer-optical | Wafer-scale optical testing | Wafer | Optical | C-band | band-source; polarisation; wafer; fibre; band-detector; camera | Lab 2074 |  |  | Needs verification
wafer-electrical | Wafer-scale electrical testing | Wafer | Electrical |  | wafer; electrical; camera | Lab 2074 |  |  | Needs verification
wafer-o | Wafer-scale O-band upgrade | Wafer | Optical | O-band | band-source; wafer; fibre; band-detector; camera | Lab 2074 |  |  | Needs verification
wst-optical-manual | Manual wafer-scale optical measurement | Wafer | Optical | C-band | wst-laser-old; wst-mainframe-manual; wst-sensor-old; wst-polarisation-manual; wst-camera-manual; wst-fibre-arms-manual; wst-fibre-sm-manual; wst-fibre-pm2-manual; wst-mating-sleeve-manual; wst-stage-manual; wst-chip-holder-manual; wst-wafer-holder-manual | Lab 2077. Grating couplers; cleaved input/output fibres held by angle-adjustable arms. Usual fibre angle: 10° from wafer normal (vertical), user-reported 5 October 2026. Holder dimensions remain to collect. |  |  | In progress

## Connections
Connections
These starter rows are tracing prompts, not confirmed wiring. Add every actual optical, electrical, control and head-interface connection.
Connection ID | Setup ID | Signal type | From equipment / instance | From port | To equipment / instance | To port | Cable / interface model | Actual wiring / limits / evidence | Review state
O1 | wst-optical-new | Optical | wst-laser-new |  |  |  |  | Trace the next actual component from laser output. | Needs verification
O2 | wst-optical-new | Optical |  |  | wst-power-head |  |  | Trace from DUT output through any intervening components. | Needs verification
H1 | wst-optical-new | Head interface | wst-power-head |  | wst-head-interface |  |  | Record head cable model and interface channel. | Needs verification
E1 | wst-electrical | Electrical | wst-picoammeter |  |  |  |  | Record actual probe/pad, polarity, return and compliance. | Needs verification
E2 | wst-electrical | Electrical | wst-power-supply |  |  |  |  | Record actual load, range, current limit and grounding. | Needs verification
C1 | wst-optical-new | Control | [5 empty] | Record control computer, instrument interface and trigger. | Needs verification
M-O1 | wst-optical-manual | Optical | wst-laser-old | Optical output | wst-mating-sleeve-manual:input-laser | Laser-side socket | Thorlabs P3-1550PM-FC-2 | Laser → P3-1550PM-FC-2 → first input ADAFCPMB2 sleeve, before FPC562. Input path order: M-O1 → M-O5 → M-O6 → M-O2. | In progress
M-O2 | wst-optical-manual | Optical | wst-mating-sleeve-manual:input-arm | Arm-side socket | wst-fibre-arms-manual:input | Cleaved fibre tip | Thorlabs P3-SMF28Y-FC-5 | Second input ADAFCPMB2 sleeve, after FPC562 → P3-SMF28Y-FC-5 → cleaved tip at input arm. Separate fibre from the controller assembly. Actual length after cleaving unknown. | In progress
M-O3 | wst-optical-manual | Optical | wst-fibre-arms-manual:output | Cleaved fibre tip | wst-mating-sleeve-manual:output | Arm-side socket | Thorlabs P3-SMF28Y-FC-5 | Output arm cleaved SM fibre → output ADAFCPMB2 sleeve. User supplied routing. Length after cleaving and DUT coupling geometry remain to confirm. | In progress
M-O4 | wst-optical-manual | Optical | wst-mating-sleeve-manual:output | Sensor-side socket | wst-sensor-old | Optical input | Thorlabs P3-1550PM-FC-2 | Output sleeve → 2 m PM cable → previously identified 81634B optical power sensor. Sensor input adapter and exact port remain to confirm. | In progress
M-O5 | wst-optical-manual | Optical | wst-mating-sleeve-manual:input-laser | Controller-side socket | wst-polarisation-manual | Input fibre lead | FPC562 fibre assembly, input lead | User confirmed first input sleeve → FPC562. Lead belongs to controller fibre assembly; no separate patch-cable model specified. Factory fibre and connectors need installed-unit verification. | In progress
M-O6 | wst-optical-manual | Optical | wst-polarisation-manual | Output fibre lead | wst-mating-sleeve-manual:input-arm | Controller-side socket | FPC562 fibre assembly, output lead | User confirmed FPC562 → second input sleeve → separate P3-SMF28Y-FC-5 cleaved input fibre (M-O2). Do not treat controller assembly as the cleaved patch cable. | In progress

## Fibre details
Fibre details
Match Connection ID to Connections. Record each cable separately. Connector A and B may differ, including FC/PC and FC/APC.
Connection ID | Fibre manufacturer | Fibre model / part number | Fibre type | Minimum wavelength (nm) | Maximum wavelength (nm) | Connector A (from end) | Connector B (to end) | Length (m) | Adapters / polarisation / routing | Specification website URL | Review state
O1 | [10 empty] | Needs verification
O2 | [10 empty] | Needs verification
M-O1 | Thorlabs | P3-1550PM-FC-2 | PM |  |  | FC/APC | FC/APC | 2 | Laser → first input ADAFCPMB2 sleeve (before FPC562). P3-1550PM-FC-2, nominal 2 m. Actual instrument adapter and key orientation remain to confirm. | https://www.thorlabs.com/item/P3-1550PM-FC-2 | In progress
M-O2 | Thorlabs | P3-SMF28Y-FC-5 | SM | 1260 | 1625 | FC/APC | Bare fibre |  | Second input ADAFCPMB2 sleeve (after FPC562) → separate P3-SMF28Y-FC-5 → cleaved input-arm tip. Actual length after cutting unknown. | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | In progress
M-O3 | Thorlabs | P3-SMF28Y-FC-5 | SM | 1260 | 1625 | Bare fibre | FC/APC |  | Output arm cleaved SM tip to output ADAFCPMB2 sleeve. Actual length after cutting unknown. | https://www.thorlabs.com/item/P3-SMF28Y-FC-5 | In progress
M-O4 | Thorlabs | P3-1550PM-FC-2 | PM |  |  | FC/APC | FC/APC | 2 | Output ADAFCPMB2 sleeve to power sensor. 2 m and connectors are product references; installed sensor adapter and key orientation remain to confirm. | https://www.thorlabs.com/item/P3-1550PM-FC-2 | In progress
M-O5 | Thorlabs | FPC562 preloaded fibre assembly | SM |  |  | FC/APC | FC/APC |  | Input lead of FPC562 from first input sleeve. SM fibre and FC/APC are archived factory references; verify installed unit. Assembly length not supplied; two lead rows describe the same assembly. | https://www.thorlabs.com/catalogpages/v20/1391.pdf | In progress
M-O6 | Thorlabs | FPC562 preloaded fibre assembly | SM |  |  | FC/APC | FC/APC |  | Output lead of same FPC562 assembly to second input sleeve. Factory references require installed-unit verification; no separate cable model or lead length supplied. | https://www.thorlabs.com/catalogpages/v20/1391.pdf | In progress

## Guidelines
Guidelines
Complete the actual lab procedure through post-processing. Include limits, stop conditions, filenames and software versions. Vendor tours are supplementary training.
Setup ID | Step number | Stage | Approved actions / settings | Expected result / acceptance | SOP / software version | Actual source file / website URL | Proposed app document path | Owner / approver / review date | Review state
wst-optical-new | 1 | Preparation |  |  |  |  | documents/wst-measurement-guide.pdf |  | Needs verification
wst-optical-new | 2 | Instrument checks |  |  |  |  | documents/wst-measurement-guide.pdf |  | Needs verification
wst-optical-new | 3 | Connect and align |  |  |  |  | documents/wst-measurement-guide.pdf |  | Needs verification
wst-optical-new | 4 | Set and acquire |  |  |  |  | documents/wst-measurement-guide.pdf |  | Needs verification
wst-optical-new | 5 | Review and shut down |  |  |  |  | documents/wst-measurement-guide.pdf |  | Needs verification
wst-optical-new | 6 | Post process |  |  |  |  | documents/wst-measurement-guide.pdf |  | Needs verification

## Timing
Timing
Collect measured evidence for the app timing calculator. State whether duration is per job, wafer, chip, waveguide or sweep. Leave unknown durations blank.
Setup ID | Activity | Measured duration (s) | Applies per | Observed count | Measurement settings / scope | Evidence file / URL | Measured date | Review state
wst-optical-new | Preparation | [6 empty] | Needs verification
wst-optical-new | Load / unload | [6 empty] | Needs verification
wst-optical-new | Alignment | [6 empty] | Needs verification
wst-optical-new | Sweep / acquisition | [6 empty] | Needs verification
wst-optical-new | Post-processing | [6 empty] | Needs verification